| Worksheet Revision No.: |  | Serial Number (SN): |  |
| --- | --- | --- | --- |
| Customer: |  | Completed by/Date: |  |
| Project: |  | Reviewed by/Date: |  |
| SOR No.: |  | Quote No.: |  | System Item No.: |  |
| Model Number: | LKCO- | Complete System | Rectifier Control Yes No |
| Spare Power Subrack (044591) SN | Spare Optical Subrack (045045) SN | Spare Compensation Module (045043) SN |
| Rectifier Control | Yes No | Calibration Point: | kA (e.g. 500kA) |

If calibration point is not specified, calibration will be at full-scale

| MAINS POWER : |
| --- |
| Voltage: | 115 Vac 230 Vac | Frequency: 50Hz 60Hz | Optional DC VDC (044877) |

STANDARD MEASUREMENT OUTPUTS :

Standard Feedback Current Output

1A Full Scale 30kA through 100kA

4mA/kA 130kA through 500kA

3.333mA/kA over 500kA

Standard Shunt Voltage Output   (Select one)

10mV/kA 30kA through 100kA

1mV/kA over 100kA                  or

1V Full Scale    Item No.       ( See Table 1 )

OPTIONAL MEASUREMENT OUTPUTS :

Select up to three (3) of the following eight (8) optional outputs:

Low Level Current – Isolated  	 (044445)     SN      ____________

(Select one)	 0 to 20 mA  or   4 to 20 mA / 0 to      kA measurement span

2nd Low Level Current – Isolated 	(044445)      SN      ____________

(Select one)	 0 to 20 mA  or   4 to 20 mA / 0 to      kA measurement span

2nd Shunt Voltage ( not available with heater option or some option combinations,

additional costs apply)    	SN      ___________

(Select one)   	1V Full Scale       Item No.       (See Table 1 ) or

1V =       kA   Item No.       (Contact DynAmp)

High Level Voltage –Isolated (0-10V) (044880)     SN      ___________

0 to      V / 0 to      kA measurement span

Table 1

Shunt Voltage Output

(1V Full Scale)

1V Full Scale      System         Shunt Output

Item Number

LKCO-15	044879

LKCO-30	044879

LKCO-45	044879

LKCO-60	044879

LKCO-80	044879

LKCO-100	044879

LKCO-130	045054

LKCO-155	045055

LKCO-180	045056

LKCO-225	045057

LKCO-260	045058

LKCO-300	045059

LKCO-350	045060

LKCO-400	045061

LKCO-450	045062

LKCO-500	045063

LKCO-550	045064

LKCO-600	045065

Modbus RTU *	(044448)    		SN      ____________

Modbus TCP *	(045152)     		SN      ____________

Profibus  *	(044449)     		SN      ____________

Frequency - Isolated  (044800) ( 0-25kHz )		SN      ____________

(Select one)       NPN (24V)   PNP (24V)   TTL (5V)      0 to      kA measurement span / 0 to      kHz

* Reports Measurement Level and Diagnostic Relay Status ( on-off )

All form fields outlined or underlined in red are customer fill-in fields.

| DIGITAL DISPLAY OPTIONS : |  |
| --- | --- |
|  | Internal Digital Display (044446) | 3.5 Digit LED – AC Power SN ____________ |
|  | Internal Digital Display (045179) | 3.5 Digit LED – DC Power SN ____________ |
|  | Remote Digital Display (045937) | 3.5 Digit LED – AC Power SN ____________ |
|  | Remote Digital Display (045938) | 3.5 Digit LED – DC Power SN ____________ |

ENVIRONMENTAL :

|  | Minimum Ambient Temperature | Maximum Ambient Temperature | Maximum Bus Temperature |
| --- | --- | --- | --- |
| Measurement Head / Compensation Module | (F / (C | (F / (C | (F / (C |
| Metering Unit Enclosure ( Options below ) | (F / (C | (F / (C |  |
| Optional Cooling Fan ( required for ambient 85(F / 30(C to 104(F / 40(C ) | 115 Vac (045605) | 230 Vac (045606) |
| Optional Heater ( required for ambient less than 14(F/-10(C ) | 115 Vac (044453) | 230 Vac (044454) |
| Optional Cooling Fan and Heater Combination (see above) | 115 Vac (045607) | 230 Vac (045608) |
| Optional Air Conditioner (required for ambient over 104(F/ 40(C) | 115 Vac (044875) | 230 Vac (044876) |
| Optional DC Powered Fan (Use with DC Mains Option) | (045557) |  |
| Note: DC Mains option may require additional customer supplied AC power for environmental options |
| METER UNIT ENCLOSURE MOUNTING : |  |  |
| Wall Mount ( standard ) | Pedestal Option (044455) |

BUS BAR DIMENSIONS :

| Actual Bus Size | Measuring Head Centerlines |
| --- | --- |
| P1 = mm | mm ( Calculated by DynAmp ) |
| P2 = mm | mm ( Calculated by DynAmp ) |
| Bus Bar Orientation | Rise Run |

MEASURING HEAD CONFIGURATIONS :

|  | Offset Compensation Module | Remote Compensation Module |
| --- | --- | --- |
|  | Location Letter (D,F,H) | Location Letter (A,B,C,D,E,F,G,H) |
|  | Offset Distance “m” | Horizontal Vertical |
|  |  | Offset Distance “m” |

| Sensor Fiber Length: (Calculated by DynAmp) | m |  |
| --- | --- | --- |
| Interconnection Cable Length: | m | (30m standard – additional cable per meter - 044989) |

| MEASURING HEAD MOUNTING : |  |  |
| --- | --- | --- |
| Corner Notch (Standard) | Wall (Standard) | Bus Bracket (044514) | Bus Suspension (044878) |

Number of Bus Brackets (determined by DynAmp) (044514)

OPTIONS : (from customer purchase order)

ACCESSORIES : (from customer purchase order)

Special System Tests or Configurations :

Special Requirements : (QA, Inspection, Shipping, etc.)

Additional costs / fees may apply to the following documents and services :

| Manuals Required Sets: | Quantity |  | (default is one) | (045047) |
| --- | --- | --- | --- | --- |

|  | Printed w/Shipment | Via E-Mail | On CD ROM |  |
| --- | --- | --- | --- | --- |
| Addendum(s): |  |  |  | Item No(s). |
| Certificate of Calibration |  |  |  | Item No(s). |
| Certificate of Calibration - NIST |  |  |  | Item No(s). |
| Certificate of Origin: |  |  |  | Item No(s). |
| Certificate of Conformance/Compliance |  |  |  | Item No(s). |
| Certificate of Warranty: |  |  |  | Item No(s). |
| CE Certificate: |  |  |  | (044847) |
| Application / Site Information |  |  |  | (099912) |
| Engineering |  |  |  | (099913) |
| Other |  |  |  |  |  |
| Other |  |  |  |  |  |

| Note: All comments, corrections and changes must be initialed and dated. |  |
| --- | --- |